|  | Rapid detection of amoxicillin susceptible Escherichia coli in the urine : a promising tool to limit the use of broad spectrum antibiotics for urinary tract infection in the Emergency Department. |
| --- | --- |
| Guillaume Chapelet1, Emmanuel Montassier, Stéphane Corvec1, Nicolas Goffinet, Laure de Decker1, Eric Batard1 |
| Background: The empirical therapy of pyelonephritis is based on a fluoroquinolone or a 3rd generation cephalosporin. However, these agents are particularly prone to promote bacterial resistance to antibiotics, and their use should be restricted. A rapid detection of amoxicillin-susceptible bacteria in the urine would allow to start amoxicillin in the Emergency Department for pyelonephritis without a preliminary broad spectrum empirical treatment. Objectives: To develop and validate a triple real-time PCR for the diagnosis of Urinary Tract Infection (UTI) due to amoxicillin susceptible Escherichia coli. Methods: We developed a triple real time PCR for Amoxicillin Susceptible E. coli (ASEC) applied to fresh, uncultured urine. The ASEC PCR detects the E. coli specific gene ycct, and genes of the main beta-lactamases causing amoxicillin resistance in French E. coli isolates (blaTEM and blaCTX-M ). The ASEC PCR is considered positive for ASEC when the PCR is positive for the yccT gene and negative for both blaTEM and blaCTX-M genes. We assessed prospectively the ASEC PCR on patients who have been hospitalized in 2014 for less than 3 days in a French hospital and suspected to have a UTI. Routine identification and susceptibility tests were used as the gold standard. Results: Among 200 patients, routine tests isolated E. coli (n=117, 58%, including 58 amoxicillin susceptible isolates), another bacterium (n=47), or proved sterile (n=36). The ASEC PCR result was obtained in 3 hours and 10 minutes after urine sampling (CI 95% 3:07-3:14). The ASEC PCR was positive in 42 (21%) patients. The specificity of ASEC PCR was 97,9% (CI 95% 95.9 -99.9), the sensibility was 65.0% (CI 95% 58.4-71.6), the positive predictive value (PPV) was 92.9 % (CI 95% 89.3-96.41) and the negative predictive value was 86.7% (CI 95% 82.0-91.4). Conclusion: The ASEC real time PCR allows a rapid diagnosis of UTI due to amoxicillin susceptible E. coli , as its result is available 3 hours after urine sampling. Thanks to its high positive predictive value, the ASEC PCR may be used to treat UTIs with amoxicillin in the Emergency Department. Its use would have reduced by up to 21% the prescriptions of fluoroquinolones or 3rd generation cephalosporins for pyelonephritis in the ED. The ASEC PCR is a promising tool to save fluoroquinolones and 3rd generation cephalosporins in the ED. |